## MRF
MATERIAL REQUISITION FORM (MRF)
SITE DETAILS |  | Type Of Service: | ASP SELF COLLECTION
|  | Mode of Transport: | LORRY
|  | Project Description: | BF L26 OL
|  | Link Name | NA
|  | Region: | CENTRAL
|  | Site ID : | 3317A
|  | Site Name : | pBTS Migrant Taman Industrian Selaman
|  | MRF Creator: | Mirani Sa
|  | MRF Reference Number: | ECM/DIGI/MRF12November2018/1348
PICK UP DETAILS |  |  | PAN ASIA LOGISTICS MALAYSIA SDN BHD, LOT 1.7, MAPLETREE LOGISTICS HUB - SHAH ALAM (MLHSA), PERSIARAN JUBLI PERAK, SEKSYEN 22, 40300 SHAH ALAM, SELANGOR
Pick Up Point Address:
|  | Contact Person : | SUFFI - +6013 355 0755 / HAMDI - +6016 384 1253
PAN ASIA LOGISTICS MALAYSIA SDN BHD, LOT 1.7, MAPLETREE LOGISTICS HUB - SHAH ALAM (MLHSA), PERSIARAN JUBLI PERAK, SEKSYEN 22, 40300 SHAH ALAM, SELANGOR
DELIVERY DETAILS
|  | ASP Assign To Site: | ECM FSO
|  | Target Collection/Delivery Date: | Tuesday , 13 November 2018 at 10:00am
Required Arrival Date at site:
E/// PO NO. | CASE NUMBER | PRODUCT CODE | PRODUCT DESCRIPTION | QTY | UOM | PROJECT OWNER | REMARKS
BBU & Installation Material Pack
|  | 04-A1-R40-0020-01 | 130000110004 PM3¦Power Module 3¦ |  | BOX |  | NO STOCK
|  | 04-A1-R40-0021-01 | ZTE BBU B8200 Main Device |  | BOX
|  | 04-A1-R40-0023-01 | ZTE BBU Installation Material Pack |  | BOX
|  | 04-A1-M40-0049-01 | 130000138562 FS5A¦Fabric Switch Module 5A¦ |  | BOX
|  | FTK-BBU POWER-2M | 052740311097 ZTE Option 2M Power Cable Assembly |  | PCS
|  | 04-A1-R40-0037-01 | 052740311426 ZTE Option1 5M Power Cable Assembly |  | PCS
|  | 04-A1-R40-0038-01 | 052740311098 ZTE Option2 10M Power Cable Assembly |  | PCS
|  | 04-A1-R40-0039-01 | 052740311427 ZTE Option3 15M Power Cable Assembly |  | PCS
|  | FTK-BBU POWER-20M | 052740311428 Option4 20M Power Cable Assembly |  | PCS
|  | 04-A1-R40-0012-01 | 033030100216 ZTE 6Gbps 2Km SFP+ 1310 nm Transceivers LTE |  | BOX
|  | 04-99-R40-0083-01 | 033030100337 10G SFP+ 1.4Km(Industrial)Optical Transceiver | 3 | PCS
|  | 04-A1-E10-1118-01 | DCPD6 and Fitting | 1 | BOX
|  | 04-A1-R40-0007-01 | 129553751030 UBPG1¦Universal Baseband Processing board NO.1 for GSM¦ |  | BOX
|  | 04-A1-R40-0022-01 | 130000025596 ZTE eNodeB Universal Ethernet Switch LTE |  | PCS
|  | 04-A1-R40-0061-01 | ZTE BPK Universal Baseband Processing board for UMTS |  | PCS
|  | 04-A1-R40-0068-01 | 130000123283 BPN_0¦Baseband Processing Board type N 0¦ |  | PCS
|  | 04-A1-R40-0071-01 | 130000162685 BPK_d¦Baseband Processing Board type K d¦ |  | PCS
|  | 04-A1-R40-0072-01 | 130000131602 BPN_2¦Baseband Processing Board type N 2¦ |  | PCS
|  | 04-A1-A20-1168-01 | 130000165344 CCE1B¦Communication Control module of Enhanced type 1B¦ |  | PCS
RRU & Installation Material Pack
|  | 04-A1-R40-0074-01 | RRU 129557431022 R8862A S2100(DC 2110-60) |  | BOX
|  | 04-A1-R50-0092-01 | RRU 129557331143 R8862A S1800(DC 1830-50) |  | BOX
|  | 04-A1-R50-0093-01 | RRU 129557531002 R8862A S2600(DC 40W 2620-70) | 3 | BOX
|  | 04-A1-R50-0116-01 | RRU 129557331160 R8862A S9000(DC 925-35) |  | BOX
|  | 04-A1-R50-0012-01 | R8862A Installation Material Pack | 3 | BOX
|  | 04-A1-R50-0136-01 | 626150422400 pole holding rack | 3 | PCS
|  | 04-A1-R50-0041-01 | option4 Pole-mounted Extended Package |  | BOX |  | NO STOCK
|  | FTK-Support Base | 626123023200 support base | 3 | PCS
|  | 04-A1-R50-0107-01 | RRU 129558331007 R8892E M1821(DC 1805-75 2110-60) |  | BOX
Power Cord & Grounding
|  | 04-A1-R50-0030-01 | 052521000129 ZTE ground power cord(yellow and green) | 15 | MTR
|  | 04-A1-R50-0027-01 | 052421000587 ZTE power cord of RRU(outdoor lightning protection,2*4mm2) | 60 | MTR
|  | 04-A1-R50-0028-01 | 052421000585 ZTE power cord of RRU(outdoor lightning protection,2*6mm2) |  | MTR
|  | 04-A1-R50-0063-01 | 052421000584 ZTE power cord of RRU(outdoor lightning protection,2*10mm2) |  | MTR
|  | FTK-POWER-4X25MM2 | 4X25mm2 black four-core flame retardant power cable (According to Malaysia contract)¦black |  | MTR
|  | 04-A1-R40-0033-01 | 052421000220 ZTE DCPC4 power cord(blue) | 5 | MTR
|  | 04-A1-R40-0034-01 | 052421000219 ZTE DCPC4 power cord(red) | 5 | MTR
Jumper Cable (Ready Made)
|  | FTK-JUMPER-2M | 052621000244 ZTE Option1?DM-DM? 2M Jumper |  | PCS
|  | 04-A1-R50-0043-01 | 052621000243 ZTE Option1?DM-DM? 3M Jumper |  | PCS
|  | 04-A1-R50-0044-01 | 052623300097 ZTE Option2?DM-DM? 5M Jumper |  | PCS
|  | F4S-DMDM-3M-P | RSJ4 SUREFLEX CABLE ASSY 3M | 12 | PCS
|  | F4S-DMDM-5M-P | RSJ4 SUREFLEX CABLE ASSY 5M |  | PCS
AISG & CPRI
|  | 04-A1-R50-0059-01 | 052740202361 DS-95836-302¦Digital Signal Cable¦5m (ZTE Option 1 5M AISG Cable) |  | PCS
|  | 04-A1-R50-0060-01 | 082740700347 DS-95836-302¦Digital Signal Cable¦10m (ZTE Option 2: 10M AISG Cable) |  | PCS
|  | 04-A1-R50-0061-01 | 082740700348 DS-95836-302¦Digital Signal Cable¦20m (ZTE Option 3: 20M AISG Cable) | 3 | PCS
|  | 04-A1-R50-0139-01 | 082740700396 DS-01024084-003¦Digital Signal Cable¦3m (ZTE Option 5: 3M AISG Cable (DB15)) |  | PCS
|  | 04-A1-R50-0140-01 | 082740700398 DS-01024084-003¦Digital Signal Cable¦5m (ZTE Option 6: 5M AISG Cable (DB15)) |  | PCS
|  | 04-A1-R50-0141-01 | 082740700399 DS-01024084-003¦Digital Signal Cable¦10m (ZTE Option 7: 10M AISG Cable (DB15)) |  | PCS
|  | 04-A1-R50-0142-01 | 082740700400 DS-01024084-003¦Digital Signal Cable¦20m (ZTE Option 8: 20M AISG Cable (DB15)) | 3 | PCS
|  | FTK-CPRI-10M | 082622200350 ZTE FIBER-95542-002¦Optical Fiber Cable¦10m |  | PCS
|  | 04-A1-R50-0125-01 | 082622200352 ZTE FIBER-95542-002¦Optical Fiber Cable¦20m | 3 | PCS
|  | 04-A1-R50-0126-01 | 082622200353 ZTE FIBER-95542-002¦Optical Fiber Cable¦30m |  | PCS
|  | 04-A1-R50-0127-01 | 082622200354 ZTE FIBER-95542-002¦Optical Fiber Cable¦40m |  | PCS
|  | 04-A1-R50-0128-01 | 082622200355 ZTE FIBER-95542-002¦Optical Fiber Cable¦50m |  | PCS
|  | 04-A1-R50-0129-01 | 082622200356 ZTE FIBER-95542-002¦Optical Fiber Cable¦60m |  | PCS
|  | 04-A1-R50-0130-01 | 082622200357 ZTE FIBER-95542-002¦Optical Fiber Cable¦70m |  | PCS
|  | 04-A1-R50-0131-01 | 082622200358 ZTE FIBER-95542-002¦Optical Fiber Cable¦80m |  | PCS
|  | FTK-CPRI-90M | 082622200368 ZTE FIBER-95542-002¦Optical Fiber Cable¦90m |  | PCS
|  | 04-A1-R50-0132-01 | 082622200369 ZTE FIBER-95542-002¦Optical Fiber Cable¦100m |  | PCS
|  | 04-A1-R50-0074-01 | ZTE CPRI 150M Cable |  | PCS
CABINET
|  | 04-A1-E10-1120-01 | ZTE Outdoor Single Bay Expansion Power Cabinet |  | BOX
|  | 04-A1-E10-1119-01 | ZTE Outdoor Single Bay Power Cabinet with CSU |  | BOX |  | should include installation material& 3 ZTE Rectifier
Antenna
|  | 04-99-A20-1160-01 | Argus RV4PX308R-V2, Freq 694-960 and 4x1695?2690 MHz, 10 ports Antenna |  | PCS |  | Cannot raise MO
FEEDER PACK
1/2"
|  | 04-A1-R50-0047-01 | 052523000018 ZTE 1/2 Custom made Jumper |  | MTR
|  | 04-A1-R50-0049-01 | 042010600001 ZTE 7/16 Din Male Connector |  | PCS
|  | 04-A1-R50-0050-01 | 056469000232 ZTE Triplex Feeder Clamp for 1/2" |  | PCS
|  | 04-A1-R50-0051-01 | 056469000248 Grounding Kit for 1/2" feeder cable |  | PCS
|  | FTK-Double Clamp 1/2 | 500000386026 Double Feeder Clamp for 1/2" cable |  | PCS
|  | 04-AC-C10-1051-01 | Acome-7/16 Male connector for 1/2" feeder (C0006X) |  | PCS
|  | 04-AC-C10-1055-01 | Acome - N-Type Male connector for 1/2" feeder (C0375X) |  | PCS
|  | 04-AC-C10-1060-01 | Acome- 1/2" coaxial cable (M5445Z) |  | MTR
|  | 04-AC-C10-1061-01 | Acome -7/16 Female connector for 1/2" feeder (C0001X) |  | MTR
|  | 04-AC-C10-1064-01 | Acome - N-type Female connector for 1/2" feeder (C0059X) |  | MTR
|  | 04-AC-C10-1076-01 | Acome Coax Cable 1/2" ? Copper (M1473Z) |  | MTR
7/8"
|  | 04-99-C10-1002-01 | Grounding Kit for 7/8" Feeder Cable | 12 | PCS
|  | 04-99-C10-1007-01 | CABLE CLAMP 3 HANGER KIT FOR 7/8" FEEDER CABLE | 133 | PCS
|  | 04-AC-C10-1052-01 | Acome -7/16 Male connector for 7/8" feeder (C0632X) |  | PCS
|  | 04-AC-C10-1056-01 | Acome-N-Type Male connector for 7/8" feeder (C0656X) |  | MTR
|  | 04-AC-C10-1059-01 | Acome 7/8" coaxial cable (M5430F) | 240 | MTR
|  | 04-AC-C10-1062-01 | Acome - 7/16 Female connector for 7/8" feeder (C0631X) | 12 | PCS
|  | 04-AC-C10-1065-01 | Acome N-type Female connector for 7/8" feeder (C0657X) |  | MTR
|  | 04-AC-C10-1077-01 | Acome Coax Cable 7/8" ? Copper (M5407Z) |  | MTR
1 5/8"
|  | 04-AC-C10-1054-01 | Acome -7/16 Male connector for 1 5/8" feeder (C0054X) |  | PCS
|  | 04-AC-C10-1057-01 | Acome -1 5/8" coaxial cable (M5438Z) |  | MTR
|  | 04-AC-C10-1063-01 | Acome 7/16 Female connector for 1 5/8" feeder (C0004X) |  | PCS
|  | 04-AC-C10-1079-01 | Acome Coax Cable 1 5/8" ? Copper (M2939Z) |  | MTR
|  | 04-AC-C10-1082-01 | Grounding Kit for 1 5/8" |  | PCS
|  | 04-AC-J10-1250-01 | Double Clamp for 1 5/8" Feeder Cable |  | PCS
COMBINER
|  | 04-99-A20-1167-01 | Quadplexer (Combiner) |  | BOX
|  | 04-A1-J10-1124-01 | ZTE DCS&UMTS single unit crossband diplexer |  | MTR
|  | 04-99-A20-1082-01 | E11F01P8002 Triplexer (Combiner unit) |  | BOX
|  | 04-99-A20-1117-01 | Smart Bias-Tee for NodeB (ASBT-Bottom-Node B) |  | PCS
|  | 04-99-A20-1118-01 | Smart Bias-Tee for Antenna (ASBT-Top-Antenna) |  | PCS
OTHERS
|  | FTK-CLAMP-031 | 052903000031 Triplex&double rings Feeder Clamp (2*4mm2) | 35 | PCS
|  | FTK-CLAMP-030 | 052903000030 Triplex&double rings Feeder Clamp (2*6mm2) |  | PCS
|  | FTK-CLAMP-029 | 052903000029 Triplex&double rings Feeder Clamp (2*10mm2) |  | PCS
|  | 04-73-E10-1050-01 | ELTEK Rectifier Module |  | PCS
|  | 04-99-A20-1175-01 | Filter, 900Mhz |  | PCS
|  | 04-99-A20-1177-01 | Filter, 2600Mhz |  | PCS
|  | FTK-DS CABLE-91223-10M | 052740402185 DS-91223-002¦Digital Signal Cable¦10m |  | PCS
|  | FTK-DS Cable-96515-5M | DS-96515-003¦DIGITAL SIGNAL CABLE¦5.000M |  | PCS
|  | FTK-DS CABLE-96515-15M | 052740202411 DS-96515-003¦Digital Signal Cable¦15m |  | PCS
|  | FTK-NETWORK CABLE-CAT5 | 052740202213 H-ETH-009¦Network Cable-Straight Cable¦10m |  | PCS
|  | FTK-DS CABLE-91228-10M | 052740402783 DS-91228-114¦Digital Signal Cable¦10m |  | PCS
|  | FTK-DS CABLE-91228 | 052740402435 DS-91228-001¦Digital Signal Cable |  | PCS
BATTERY
|  | 04-99-B10-1017-01 | ELTEK 12V150AH BATTERY |  | BX
|  | 04-CT-B10-1042-01 | Vision Battery 12V 200Ah Per Unit/Bank |  | BOX
mCME
|  | ADVNET-MCME-006 | V POL MOUNTING BRACKET |  | PCS
|  | DATASCO-MCME-001 | 2m Post on ground - RRU |  | PCS
|  | DATASCO-MCME-002 | Ant V-Pol Mounting Bracket |  | SET
|  | DATASCO-MCME-003 | Battery Hardening Plate |  | PCS
|  | DATASCO-MCME-004 | Cable Ladder (400mm), (Floor Mounted x 188m) |  | MTR
|  | DATASCO-MCME-006 | C-Channel |  | PCS
|  | DATASCO-MCME-007 | RRU Cage (1.5m x 1m) |  | SET
|  | DATASCO-MCME-008 | RRU Security Cage (1.5m x 1m x 2.3m) |  | PCS |  | No Stock
|  | DATASCO-MCME-009 | RRU U-Bracket |  | SET
|  | MCME L BRACKET | L BRACKET |  | PCS
|  | DATASCO-MCME-010 | Security bar |  | PCS
|  | 220017585052 | AI_MON lable ¦ 626469013300 V1.1 | 1 | SET
|  | 220017617456 | ANT1_4 lable ¦ 626469013400 V1.1 | 1 | SET
Comments:
Requested by:
Request Date:
DODO @ DORIETHIA PIDILIS - +6011 1050 6288
SZE KIAT - +6016 886 9579
SUFFI - +6013 355 0755 / HAMDI - +6016 384 1253
SELECT
MATERIAL & DELIVERY / DISMANTLE
TRANSPORT SERVICES ONLY
MATERIAL ONLY / OWN COLLECTION
ASP SELF COLLECTION
MATERIAL RESERVATION
RETURN MATERIAL
SELECT
AIR FREIGHT
SEA FREIGHT
TRUCK
COURIER
LORRY
SELECT
PAN ASIA LOGISTICS MALAYSIA SDN BHD, RT CARGO WAREHOUSE, LOT 8- INDUSTRIAL ZONE 7, KKIP, SABAH
PAN ASIA LOGISTICS MALAYSIA SDN BHD, RT CARGO WAREHOUSE, LOT 1197, JALAN BAKO, 93450 KUCHING, SARAWAK
PAN ASIA LOGISTICS MALAYSIA SDN BHD, LOT 1.7, MAPLETREE LOGISTICS HUB - SHAH ALAM (MLHSA), PERSIARAN JUBLI PERAK, SEKSYEN 22, 40300 SHAH ALAM, SELANGOR
SELECT
CENTRAL
SOUTHERN
NORTHERN
EASTERN
SABAH
SARAWAK
SELECT
NEW GF
NEW PASSIVE IBC
BF 4G LTE
BF L26 OL
BF LTE
HUAWEI SPDH
MICRO BTS
iMACRO
PBTS CONV
PBTS RELOCATION
PBTS DEPLOYMENT
MBTS DEPLOYMENT
IPRAN
USP CB BF
USP CB GF
SMALL CELL UPGRADE
ENT BIZ
4G ANTENNA SWAP
4G POWER UPGRADE
4G FILTERS
ZTE
SELECT
OCK Setia Engineering
H. T. Telecommunication Sdn Bhd
DATASCO SDN BHD
Yongpeng Telecom Technology (M) Sdn Bhd
Alphawave Engineering (M) Sdn Bhd
PROPEL NETWORK SDN BHD
SOUTHPAC
CCS Comservice (Malaysia) Sdn. Bhd.
NERA (MALAYSIA) SDN BHD
Innerspace System Sdn Bhd
Midascom Network Sdn Bhd
TELEPRIMA SDN BHD
Binasat
BCL SDN BHD
GCI Science & Technology (M) SDN BHD
Magicell Sdn Bhd
ECM FSO
Orissa Wicomm
Futong Info Ind (M) Sdn Bhd
Respontrade
SEL TELECOMMUNICATIONS SDN BHD
Elite Comm Network Sdn Bhd
FA Frontliners Sdn Bhd
ZTE Telecommunications
Ascentrack Sdn Bhd