## MRF
MATERIAL REQUISITION FORM
SITE DETAILS |  | Type Of Service: | MATERIAL ONLY/OWN COLLECTION
|  | Mode of Transport: | LORRY
|  | Project: | HAMMER18
|  | Project Naming Convention: | PO5 CUQ1 H1B1
|  | Region: | SARAWAK
|  | Site Name : | CB KGMERANEK
|  | Location ID: | Q01709
|  | Network No: | 96048959
|  | WBS No: | ECM11.100111.20001
PICK UP DETAILS |  |  | PAN ASIA LOGISTICS MALAYSIA SDN BHD, RT CARGO WAREHOUSE, LOT 1197, JALAN BAKO, 93450 KUCHING, SARAWAK
Pick Up Point Address:
|  | Contact Person : | SZE KIAT - 0168869579
Delivery Details
|  | Contact Person At Site: | IEZZPRO
|  | Target Collection/Delivery Date: | 2018-11-22
|  | Required Arrival Date at site: | ETA
E/// PO NO. | CASE NO. | PRODUCT CODE | PRODUCT DESCRIPTION | QTY | UOM | SERIAL NO. | PROJECT OWNER | NW# | REMARKS | ECM11.100032 | 2017 MY NES Celcom Hammer Cap Exp SS Sab
[10 empty] | ECM11.100045 | 2017 MY Celcom NES - Hammer Refarming EM June
|  |  | PO5 CUQ1 H1B1 IEZZPRO SARAWAK 22-11-2018 Q01709 CB KGMERANEK | [6 empty] | ECM11.100046 | 2017 MY Celcom NES - Hammer Refarming EM July
[10 empty] | ECM11.100052 | 2017 MY Celcom NES - Hammer Clawback EM
4517335666 |  | RNT44732/02 | CONNECTOR/Circular Power cable connector | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK | ECM11.100057 | 2017 MY NES Celcom - Hammer Clawback EM
4517335666 |  | RNY10487/1 | ACCESSORIES/Power Adapter | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK | ECM11.100062 | 2017 MY NES Celcom - Hammer BP EM
4517335666 |  | RDH10265/2 | OPTICAL TRANSCEIVER/SFP+ SM 10.3Gb/s 1.4 | 2 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK | ECM11.100063 | 2017 MY NES Celcom - Hammer RDO EM
4517335666 |  | SEF901304/1 | BRACKET/RAIL BRACKET | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK | ECM11.100065 | 2017 MY NRO Celcom BP Ph2 EM
4517335666 |  | SEF901305/0180 | BRACKET/RAIL | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK | ECM11.100067 | 2017 MY NRO Celcom Cap Upg Q1 EM
4517335666 |  | SXK1252540/1 | ASSEMBLED PARTS/MOUNTING KIT | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK
4517345257 |  | KRC161428/1 | TRANSCEIVER/Radio 2217 B7;Radio Unit | 1 | PCS |  | ECM11.100111.20001 | 96048959 | Q01709 CB KGMERANEK
|  | RPM2531610/100M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S
|  | ECM-LC08-475-5000 | 4.3-10 male-DINmale,5M 1/2â€™ SFLEX jumper | 2 | PCS |  | ECM11.100111 | 96048959
|  | TFL492325/300M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre | 30m x 1 | MTR |  | ECM11.100111 | 96048959
|  | ECM-LTTBABS2838 | Fiber Overlength box | 1 | EA |  | ECM11.100111 | 96048959
Comments:
|  |  |  | Requested by: |  | AHMADZAKI
|  |  |  | Request Date: |  | 2018-11-21
DORIETHIA PIDILIS - 011 1050 6288 |  | FSO
SZE KIAT - 0168869579 |  | IEZZPRO
FAIRUZ - 018 258 7505 / VALLA - 014 627 6718 |  | TELECORE
HOMKIM
SELECT |  | SPAC
MATERIAL & DELIVERY/DISMANTLE |  | DATASCO
TRANSPORT SERVICES ONLY |  | DANCOM
MATERIAL ONLY/OWN COLLECTION |  | DDESA
ASP SELF COLLECTION |  | NERA
MATERIALS RESERVATIONS |  | RESPONTRADE
RETURN MATERIAL |  | SEATELCO
SELECT
AIR FREIGHT
SEA FREIGHT
TRUCK
COURIER
LORRY
PAN ASIA LOGISTICS MALAYSIA SDN BHD, RT CARGO WAREHOUSE, LOT 8- INDUSTRIAL ZONE 7, KKIP, SABAH
PAN ASIA LOGISTICS MALAYSIA SDN BHD, RT CARGO WAREHOUSE, LOT 1197, JALAN BAKO, 93450 KUCHING, SARAWAK
PAN ASIA LOGISTICS MALAYSIA SDN. BHD. MAPLETREE LOGISTICS HUB - SHAH ALAM (MLHSA). LOT NO 3, PERSIARAN JUBLI PERAK, SEKSYEN 22, 40300 SHAH ALAM, SELANGOR DARUL EHSAN
SELECT
CENTRAL
EASTERN
SABAH
SARAWAK
SELECT | SELECT
BAU | PO2 RDO
HAMMER17 | PO3 REFARMING
HAMMER18 | PO3 REFARMING NEW NEW
IBC | PO4 CLAWBACK15
CELCOM | PO5 BP77
PO6 BP710
PO7 CU Q1
PO8 CU Q4
PO9 CA17
PO10 CU Q2 P1
PO11 BP117
PO12 CU Q2 P2
PO13 BP264
PO14 CB16
PO15
PO16 CUQ3
PO1 REFARM56
PO2 LTE MAX
PO3 BP2018
PO5 CUQ1 H1B1
PO6 BP38
PO7 CUH1B2
PO8 CU H2B1
LTE ACCELERATED
IBC
CELCOM
MODERNIZED
CA OKV

## SUPPORT MATERIAL
CU Q1 | ECM-0709EWEW65XX02 | Triband L900/H1800/2100/2600 65░18dBi | 3 | EA | TB LHH
| RASO-ANT-0020 | XXPol,806-960/1710-2690 MHz,Dual-Band | 3 | EA | DB LH
| RASO-ANT-0017 | XXPol,2 x 1710-2690 MHz Dual Ultra-WB | 3 | EA | DB HH
| RASO-ANT-0021 | XXXPol,3x1710-2690 MHz Triple Ultra-WB | 3 | EA | TB HHH
CA2017 | ECM-ODI4-065R18J-G | QB HHHH | 3 | EA | COMBA QB HHHH
| RASO-ANT-0016 | XXPol,790-960/790-960 MHz,Ultra-wideband | 3 | EA | DB HH
| RASO-ANT-0014 | XXXXPol,2x(694-960)/2x(1710-2690)MHz,QB | 3 | EA | QB LLHH
| ECM-ODI4-065R18J-G | QB,Xp,4x1710-2690MHz,65,17.8/17.3 dBi,RE | 3 | EA | QB HHHH
| RASO-ANT-0015 | XXXXPol,694-960/3x(1710-2690)MHz,QB | 3 | EA | QB LHHH
RDO | RASO-ANT-0024 | Outdoor Directional QB Antenna-RCU | 3 | EA | QB LHHH
| RASO-ANT-0055 | QBXpol 698-960+1710-2690 65 16.7/17.9 | 3 |  | QB LHHH
| RASO-ANT-0023 | XXXXXPol,2x(694-960)/3x(1710-2690)MHz,PB | 3 | EA | PB LLHHH
| RASO-ANT-0025 | Outdoor Directional PB Antenna-RCU | 3 | EA | PB LHHHH
CA2017 | RASO-ANT-0058 | PENTABAND LHHHH | 3 | EA | COMBA PB LHHHH
| ECM-ANTBRKT3MT | antenna bracket-2 flexi arm(76mmx3m)boom | 3 | SET
| RASO-ANT-0011 | RET Cable 3m | 3 | PCS
| ECM-LC08-475-3000 | 4.3-10 male to DIN male, 3 meters 1/2ö superflexi jumper | 6 | PCS | JUMPER FOR RRU 2217 / 2217
| ECM-LC081133000 | JUMPER DIN MALE DIN MALE - 3 meters | 12 | PCS | JUMPER COMMON
| RASO-ANT-0059 | COMBA RET CABLE 3m | 3 | PCS | COMBA RET
| RASO-ANT-0012 | RET Cable 5m | 3 | PCS | COMBA RET
| ECM-SL078RALPE | Feeder Cable 7/8" Aluminium |  | M | 7/8"
| ECM-60K1CAC05B1 | CONNECTOR 7-16 DIN (F) FOR 7/8" CABLE |  | PCS
| ECM-SLGK004C05060 | Grounding Kit for 7/8" feeder cable |  | PCS
| ECM-SL158RAPE | Feeder Cable 1 5/8" Aluminium |  | M | 1 5/8"
| ECM-60K1D7C07B1 | 7/16 Connector (F)1 5/8"Aluminium feeder |  | PCS
| ECM-SLGK004C07060 | Grounding Kit for 1 5/8" feeder cable |  | PCS
| ECM-SL012SPE | Feeder 1/2" Cable Superflex |  | MTR | 1/2"
| ECM-60S1C7C08N1 | CONN 7-16 DIN(M) STRGT FR 1/2" SuperFlex |  | PCS
| ECM-64S1C7-C08N1 | 4.3-10 male for 1/2� superflexi (Straight plug) |  | PCS
| TFL492325/300M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre | 70m x 6 | MTR | POWER CABLE
| ECM-LTTBABS2838 | Fiber Overlength box | 2 | EA | FOB
| ECM-ESR4856ABS | Rectifier 2.7kW ESR48/56A B-S | 1 | PCS | RECTIFIER MODULE
| ECM-DD300R-05A-B-S | DCDU | 1 | PCS | DCDU
| ECM-ESAA150ACB010 | INDOOR RECTIFIER 2.9 kWa | 1 | SET | INDOOR RECTIFIER
| ECM-0991253228 | 12V AGM 150AH battery | 8 | PCS
| ECM-ESOA300ACB010 | Outdoor power system - 2900W-ESOA300ACBD | 1 | SET | SBOC 2.9kWA
| ECM-ESOA300BCBD01 | SINGLEBAY BOC 2.3 kWa | 1 | SET | SBOC 2.3kWA
| ECM-CGT12-125X | 12V GEL 125AH Battery | 8 | PCS | 2 BANK
| ECM-0991253228 | 12V AGM 150AH battery | 8 | PCS | BATT 150AH 2 BANK
| SXK1250245/1 | ASSEMBLED PARTS/MOUNTING KIT (MK mast br | 8 | PCS | RRU13/32 BRACKET
| SXK1252540/1 | ASSEMBLED PARTS/MOUNTING KIT | 8 | PCS | RRU2217/2219 BRACKET
| RPM2533512/10M | 2F LC-LC SM | 1 | PCS | ADDITIONAL
| RDH10265/2 | OPTICAL TRANSCEIVER/SFP+ SM 10.3Gb/s 1.4 | 2 | EA | ADDITIONAL
OIL 100M | RPM2531610/100M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 1 | EA
CASCADE 10M | RPM2533512/10M | 2F LC-LC SM | 1 | PCS
CASCADE 20M | RPM2530292/20M | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 2 | PCS
OIL 100M | RASO-IMT-9025 | OIL CABLE 100m | 1 | PCS
CASCADE 20M | ECM-L98B-906-20000 | CASCADE CABLE 20m | 2 | PCS
2217 DC CONNECTOR | RNY10487/1 | ACCESSORIES/Connector | 1 | EA
2217/2219 DC CONNECTOR | RNT44732/02R1B | CONNECTOR/Circular Power cable connector | 1 | EA
6601+5212 | 20/BFL901009/777 | EQUIPPED CABINET/RBS 6601 ASO | 1 | EA
6601+5212 | 20/BFL901009/821 | EQUIPPED CABINET/RBS 6601 ASO | 1 | EA
6601+5216 | 20/BFL901009/819 | EQUIPPED CABINET/RBS 6601 ASO | 1 | EA
RBS6601+5216 NEW | 20/BFL901009/1728 | EQUIPPED CABINET/RBS 6601 ASO | 1 | EA
RBS6601+5212 NEW | 20/BFL901009/1732 | EQUIPPED CABINET/RBS 6601 ASO | 1 | EA
RBS 6601 SUBRACK | NTM1012589/1 | SET OF MATERIALS/6601 subrack kit v2,-48 | 1 | EA
BB5212 | KDU137925/31 | PROCESSOR UNIT/Baseband 5216; Digital Un | 1 | EA
BB5216 | KDU137925/41 | PROCESSOR UNIT/Baseband 5212; Digital Un | 1 | EA

## MASTER CHECKLIST 14NOV18
CLASS | DETAILS | PRODUCT CODE | DESCRIPTION | SA | SB | SK | TOTAL
ANT | DB LL | RASO-ANT-0016 | XXPol,790-960/790-960 MHz,Ultra-wideband | 0 | X | X | X
| DB LH | RASO-ANT-0020 | XXPol,806-960/1710-2690 MHz,Dual-Band | 35 | X | X | X
| DB HH | RASO-ANT-0017 | XXPol,2 x 1710-2690 MHz Dual Ultra-WB | 0 | 21 | X | 21
| TB LHH | ECM-0709EWEW65XX02 | Triband L900/H1800/2100/2600 65░18dBi | 3 | 14 | 18 | 35
| TB HHH | RASO-ANT-0021 | XXXPol,3x1710-2690 MHz Triple Ultra-WB | 12 | 13 | 8 | 33
| QB LLHH | RASO-ANT-0014 | XXXXPol,2x(694-960)/2x(1710-2690)MHz,QB | 190 | 22 | 41 | 253
| QB LHHH | RASO-ANT-0015 | XXXXPol,694-960/3x(1710-2690)MHz,QB | 0 | X | 43 | 43
| QB LHHH | RASO-ANT-0024 | Outdoor Directional QB Antenna-RCU | 59 | X | 49 | 108
| QB LHHH | RASO-ANT-0055 | QBXpol 698-960+1710-2690 65 16.7/17.9 | 12 | X | X | 12
| QB HHHH | ECM-ODI4-065R18J-G | QB,Xp,4x1710-2690MHz,65,17.8/17.3 dBi,RE | 113 | X | 52 | 165
| COMBA QB HHHH | ECM-ODI4-065R18J-G | QB HHHH | 113 | X | 52 | 165
| PB LLHHH | RASO-ANT-0023 | XXXXXPol,2x(694-960)/3x(1710-2690)MHz,PB | 82 | 45 | 50 | 177
| PB LHHHH | RASO-ANT-0025 | Outdoor Directional PB Antenna-RCU | 2 | X | X | 2
| PB LHHHH | ECM-G7W8W8W8W8X65V | Penta-Band 5XPol, 694-960/4X1710-2690 MH | 1 | 3 | X | 4
| PB LHHHH | ODI-065R16M17JJJJG | SMALL PENTABAND LHHHH- | 2 | X | X | 2
| COMBA PB LHHHH | RASO-ANT-0058 | PENTABAND LHHHH | 0 | 14 | 34 | 48
ANT SUPPORT | BOOM BRACKET | ECM-ANTBRKT3MT | antenna bracket-2 flexi arm(76mmx3m)boom | 102 | 61 | 131 | 294
| RET | RASO-ANT-0011 | RET Cable 3m | 1419 | 377 | 442 | 2238
| RET | RASO-ANT-0012 | RET Cable 5m | 59 | 8 | 6 | 73
| COMBA RET | RASO-ANT-0059 | COMBA RET CABLE 3m | 25 | 99 | X | 124
JUMPER | JUMPER RRU 2219-17 / 4415 | ECM-LC08-475-3000 | 4.3-10 male to DIN male, 3 meters 1/2ö superflexi jumper | 2503 | 414 | 3 | 2920
| JUMPER COMMON | ECM-LC081133000 | JUMPER DIN MALE DIN MALE - 3 meters | 13937 | 2268 | 2587 | 18792
| JUMPER RRU 2219-17 / 4415 | ECM-LC08-475-5000 | 4.3-10 male-DINmale,5M 1/2â€™ SFLEX jumper | 0 | X | 102 | 102
7/8" FEEDER | 7/8" FEEDER | ECM-SL078RALPE | Feeder Cable 7/8" Aluminium | 976 | 354 | 424 | 1754
| 7/8" CONNECTOR | ECM-60K1CAC05B1 | CONNECTOR 7-16 DIN (F) FOR 7/8" CABLE | 2483 | 35 | 154 | 2672
| 7/8" GROUNDING KIT | ECM-SLGK004C05060 | Grounding Kit for 7/8" feeder cable | 1829 | 7 | 154 | 1990
1 5/8" FEEDER | 1 5/8" FEEDER | ECM-SL158RAPE | Feeder Cable 1 5/8" Aluminium | 3380 | 4140 | 4606 | 12126
| 1 5/8" CONNECTOR | ECM-60K1D7C07B1 | 7/16 Connector (F)1 5/8"Aluminium feeder | 707 | 50 | 142 | 899
| 1 5/8" CONNECTOR | ECM-60K1C7C07B1 | 7/16 Connector (F) for 1 5/8" feeder | 306 | 34 | 21 | 361
| 1 5/8" GROUNDINGKIT | ECM-SLGK004C07060 | Grounding Kit for 1 5/8" feeder cable | 467 | 190 | 307 | 964
1/2" FEEDER | 1/2" FEEDER | ECM-SL012SPE | Feeder 1/2" Cable Superflex | 300 | 555 | 550 | 1405
| 1/2" CONNECTOR 7/16 | ECM-60S1C7C08N1 | CONN 7-16 DIN(M) STRGT FR 1/2" SuperFlex | 2871 | 1093 | 460 | 4424
| 1/2" CONNECTOR 4.3-10 | ECM-64S1C7-C08N1 | 4.3-10 male for 1/2� superflexi (Straight plug) | 103 | 524 | 176 | 803
DC CABLE | DC CABLE 10mm | TFL492325/300M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre | 6415 | 10391 | 12932 | 29738
| DC CABLE 10mm | TFL492325/100M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre | X | 200 | X | 200
| DC CABLE 6mm | TFL492324/500M | POWER CABLE/2x6 mm2;UL;LSOH;Alu+Cu-scree | 3856 | 365 | X | 4221
POWER SYSTEM | RECTIFIER MODULE | ECM-ESR4856ABS | Rectifier 2.7kW ESR48/56A B-S | 40 | 63 | 25 | 128
| DCDU | ECM-DD300R-05A-B-S | DCDU | 0 | 5 | 7 | 12
| INDOOR RECTIFIER | ECM-ESAA150ABB01 | Indoor Rack | 3 | X | X | 3
|  | ECM-ESAA150ABB04 | Indoor Micro (Celcom LTE) | 10 | 1 | X | 11
|  | ECM-ESAA150ACB010 | INDOOR RECTIFIER 2.9 kWa | 2 | X | X | 2
|  | ECM-ESAA150BCBA01 | Indoor power system- 2300W - ESAA150BCBA | 7 | X | 3 | 10
| SBOC 2.9W | ECM-ESOA300ACB010 | Outdoor power system - 2900W-ESOA300ACBD | 0 | 9 | 13 | 22
| SBOC 2.3W | ECM-ESOA300BCBD01 | SINGLEBAY BOC 2.3 kWa | 1 | 14 | 1 | 16
| BATT 125AH 2 BANK | ECM-CGT12-125X | 12V GEL 125AH Battery | 80 | X | X | X
| BATT 150AH 2 BANK | ECM-0991253228 | 12V AGM 150AH battery | 273 | 286 | 136 | 695
SYNC CABLE | SFP MODULE 2.5G | RDH10247/2 | OPTICAL TRANSCEIVER/SFP CPRI & 1000BASE- | 463 | 118 | 32 | 613
| SFP MODULE 10G | RDH10265/2 | OPTICAL TRANSCEIVER/SFP+ SM 10.3Gb/s 1.4 | 698 | 699 | 1003 | 2400
| CASCADE 10M | RPM2533512/10M | 2F LC-LC SM | 0 | 76 | 63 | 139
OIL & CASCADE | OIL 100M | RPM2531610/100M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 13 | 246 | 93 | 352
| OIL 100M | RASO-IMT-9025 | OIL CABLE 100m | 0 | X | X | X
| OIL 100M | ECM-L98B755100M | OIL cable 100m (RPM 253 3577) | 98 | 9 | X | 107
| OIL 100M | RPM2533512/100M | CABLE WITH CONNECTOR/2F LC-LC SM | 39 | 57 | X | 96
| NEW OIL 100M | 85005597 | OPTICAL FIBER CABLE, SM LCD-LCD FXS 100M | 272 | X | 270 | 542
| OIL 50M | RPM2533512/50M | CABLE WITH CONNECTOR/2F LC-LC SM | 0 | 19 | 6 | 25
| OIL 150M | RPM2531610/150M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 0 | 1 | X | 1
| OIL 200M | RPM2531610/200M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 0 | X | X | X
| OIL 150M | RASO-IMT-9027 | OIL cable, single mode, LCD - LCD RFE, 150m | 6 | 9 | 5 | 20
| OIL 300M | RASO-IMT-9033 | OILcable,singlemode,LCD-LCDRFE,300m | 2 | X | X | 2
| CASCADE 100M | RPM2530292/100M | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 38 | 65 | 143 | 246
| CASCADE 20M | RPM2530292/20M | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 3 | 160 | 106 | 269
| NEW CASCADE 20M | 85006586 | OPTICAL FIBER CBL SM LCD FXS-LCD FXS 20M | 194 | X | 201 | 395
| CASCADE 20M | ECM-L98B-906-20000 | CASCADE CABLE 20m | 0 | X | 3 | 3
FOB | FOB | ECM-LTTBABS2838 | Fiber Overlength box | 283 | 600 | 606 | 1489
RRU DC CONNECTOR | 2217 DC CONNECTOR | RNY10487/1 | ACCESSORIES/Connector | 742 | 107 | 72 | 921
| 2217/2219 DC CONNECTOR | RNT44732/02 | CONNECTOR/Circular Power cable connector | 1203 | 416 | 272 | 1891
BASEBAND & RBS CONFIG | 6601+5212 | 20/BFL901009/777 | EQUIPPED CABINET/RBS 6601 ASO | 5 | 9 | 2 | 16
| 6601+5212 | 20/BFL901009/821 | EQUIPPED CABINET/RBS 6601 ASO | 3 | X | X | 3
| 6601+5216 | 20/BFL901009/819 | EQUIPPED CABINET/RBS 6601 ASO | 0 | X | 22 | 22
| RBS6601+5216 NEW | 20/BFL901009/1728 | EQUIPPED CABINET/RBS 6601 ASO | 0 | 36 | 11 | 47
| RBS6601+5212 NEW | 20/BFL901009/1732 | EQUIPPED CABINET/RBS 6601 ASO | 4 | 3 | X | 7
| BB 5216 | KDU137925/31 | PROCESSOR UNIT/Baseband 5216; Digital Un | 1 | 10 | 3 | 14
| BB5212 | KDU137925/41 | PROCESSOR UNIT/Baseband 5212; Digital Un | 71 | 54 | 61 | 186
| RBS6601 SUB-RACK | NTM1012589/1 | SET OF MATERIALS/6601 subrack kit v2,-48 | 133 | 108 | 65 | 306
RRU | RRU B7 | KRC161428/1 | TRANSCEIVER/Radio 2217 B7;Radio Unit | 37 | 21 | 23 | 81
|  | KRC161495/1 | TRANSCEIVER/Radio 4415 B7 | 104 | X | 9 | 113
|  | KRC161473/2 | TRANSCEIVER/RRUS 13 B7;Radio Unit, Type | 1 | X | X | X
| RRU B8 | KRC161548/1 | TRANSCEIVER/Radio 2217 B8;Radio Unit | 1 | 8 | 37 | 46
|  | KRC161670/1 | TRANSCEIVER/Radio 2219 B8;Radio Unit | 12 | 120 | 43 | 175
|  | KRC161262/2 | TRANSCEIVER/RRUS 12 B8;Radio Unit, Type | 14 | X | 10 | 24
| RRU B1 | KRC161622/1 | TRANSCEIVER/Radio 2219 B1;Radio Unit | 43 | 10 | 21 | 74
|  | KRC161490/1 | TRANSCEIVER/Radio 2217 B1;Radio Unit | 22 | X | 1 | 23
|  | KRC161466/2 | TRANSCEIVER/RRUS 13 B1;Radio Unit, Type | 9 | 32 | X | 41
| RRU B3 | KRC161619/1 | TRANSCEIVER/Radio 2219 B3;Radio Unit | 160 | 157 | 166 | 483
|  | KRC161637/1 | TRANSCEIVER/Radio 4415 B3;Radio Unit | 158 | 46 | 22 | 226
|  | KRC161413/1 | TRANSCEIVER/RRUS 32 B3;Radio Unit | 3 | X | X | 3
|  | KRC161469/2 | TRANSCEIVER/RRUS 13 B3;Radio Unit | 1 | 6 | 1 | 8
RRU BRACKET | RRU13/32 BRACKET | SXK1250245/1 | ASSEMBLED PARTS/MOUNTING KIT (MK mast br | 57 | 24 | 62 | 143
| RRU2217-19/4415 BRACKET | SXK1252540/1 | ASSEMBLED PARTS/MOUNTING KIT | 912 | 411 | 425 | 1748
QUADPLEXER | QUAD-DIPLEXER | KRF102301/10 | FILTER UNIT/Diplex 698-2200+B7/B41 (8-4) | 64 | X | 4 | 68
| QUADPLEXER | E15V90P3201 | QUADPLEXER LHHH | 0 | 3 | X | 3
| NEW QUADPLEXER | ECM-CB-4-GDWEDF08G | Quadplexer with DC bypass | 80 | 33 | 9 | 122
| RMU FOR 2217/2219/4415 | KRC115108/1 | TRANSCEIVER/RMU 4.3-10 Int Cables | 37 | 9 | 9 | 55
| RIU | KRC115032/2 | TRANSCEIVER/RIU (RET Interface Unit) | 245 | 20 | 2 | 267

## SOH 14NOV2018
PRODUCT | DESCRIPTION | SA | SB | SK
4070097 | Signal Cable,AISG Communication cable,5m ( Huawei ) |  |  | 24
10002358 | Connector 7/16 Male 1/2" FDR CBL (Str) ( Rosenberger ) |  |  | 3
10005694 | INDOOR 19"" RACK | 13
10027830 | DCDU | 1
27150136 | RCU136,HW RCU,Antenna,10~30V,AISG2.0,Antenna (Huawei) |  |  | 18
27150243 | Downtilt Kit-C ( Huawei ) |  |  | 9
85005592 | H&S Optic Cable 20M RPM 253 1610 | 1
85005595 | H&S Optic Cable 50M RPM 253 1610 | 2
85005597 | OPTICAL FIBER CABLE, SM LCD-LCD FXS 100M | 272 |  | 270
85006586 | OPTICAL FIBER CBL SM LCD FXS-LCD FXS 20M | 194 |  | 201
1/BFL901009/4 | EQUIPPED MAGAZINE/SUP 6601; Equipped mag | 7 | 19 | 9
1/KEP813102 | SWITCHING EQUIPMENT/AC meter 3-ph | 8
1/NSD20103/50 | FOUNDATION/FOUNDATION/BYB 501 | 2
1/TSR48421/3000 | CONNECTION CABLE/RET control cable, blac | 3
1/TSR48422/2000 | CONNECTION CABLE/RET control cable, grey |  |  | 99
10/FAB1021180/2 | SALES OBJECT/Evo C 8200 R2.0 Equipped Ca | 2 | 1
11/BYB501180 | SIDE PLATE/Side plate BYB501 H=1800 | 2 | 1
11/FAB1021180/2 | SALES OBJECT/Evo C 8200 R2.0 Equipped Su | 1
12/FAB1021180/2 | SALES OBJECT/Evo C 8200 R2.0 Subrack Equ |  | 1
18/FAB1021180/2 | SALES OBJECT/Evo C 8200 R2.0 Equipped Su |  | 1
20/BFL901009/1728 | EQUIPPED CABINET/RBS 6601;ASO |  | 36 | 11
20/BFL901009/1732 | EQUIPPED CABINET/RBS 6601;ASO | 4 | 3
20/BFL901009/485 | EQUIPPED CABINET/RBS 6601 ASO | 1 | 1
20/BFL901009/707 | EQUIPPED CABINET/RBS 6601 ASO | 5
20/BFL901009/760 | EQUIPPED CABINET/RBS 6601 ASO | 0 | 4 | 6
20/BFL901009/777 | EQUIPPED CABINET/RBS 6601 ASO | 5 | 9 | 2
20/BFL901009/784 | EQUIPPED CABINET/RBS 6601 ASO | 1
20/BFL901009/814 | EQUIPPED CABINET/RBS 6601 ASO | 1
20/BFL901009/817 | EQUIPPED CABINET/RBS 6601 ASO | 2
20/BFL901009/819 | EQUIPPED CABINET/RBS 6601 ASO |  |  | 22
20/BFL901009/821 | EQUIPPED CABINET/RBS 6601 ASO | 3
27010963-001 | DXX-790-960/1710-2690-65/65-17i/18.5-M/M ( HUAWEI ) |  |  | 9
303/BFM901290 | EQUIPPED CABINET/RBS 6201;AGO |  |  | 13
305/BFL901009 | EQUIPPED CABINET/RBS 6601;AGO | 19 | 9 | 4
38/BYB501180/1 | BACK COVER/Back cover perforated 400mm | 4 | 1
39/BYB501/1 | END COVER2/Air guide set for top of BYB | 4 | 1
469760A.102 | 10009674 - ANT : RET MOTOR (469760A) - ANDREW |  |  | 4
469790A.103 | 10009680 - NSN : CABLE 3M (469790A) | 6 |  | 10
469870A.105 | 10009436 - SMART BIAS T KIT |  |  | 7
5/NTM201201/2 | GROUNDING MATERIAL/Cable Kit 2m/25mm2 Bl |  |  | 18
501/BYB40501 | BASE FRAME/INSTAL.INTERF. |  |  | 10
6/KEP813102 | SWITCHING EQUIPMENT/General purpose rela | 20
78/SBA121060/0160 | SCREW/SCREW MRT-LME M 6X16 ST FZB, | 48
98K116-134-01300 | E1 Cable (RPM 919 701) | 2
ANTENNA BRACKET - 500mm (Big Tower) | X-polar Antenna Tower Bracket 500mm Big Tower |  |  | 6
ATCB-B01-003 | CABLE ASSY-AISG-8MM-6 - 3 METERS |  |  | 9
ATCB-B01-005 | CABLE ASSY - AISG-8MM-6 - 5 METERS |  |  | 5
ATCB-B01-010 | 10m Control Cable - Black |  |  | 2
ATCB-B01-015 | CABLE ASSY-AISG-8MM-6 - 15 METERS | 1 |  | 1
ATM200-A20 | ATM200-002 FACTORY-SET TO AISG 2.0 | 15 | 3
BA-G7G7W8W8X65V-00 | Antenna | 4
BA-G7W8W8W8W8X65V-00 | 694-960/4X 1710-2690 PBAND INT RET (TRIAL) | 1
BATTERIES | Preventive maintenace for batteries | 216
BAY111151/1 | INSTALLATION KIT/OH-mechanics.1 kit/cab | 2 | 1
BAY111151/2 | INSTALLATION KIT/OH-mech.1 front plate/B | 2 | 1
BAY111151/4 | INSTALLATION KIT/OH-mech.back plate 400, | 2 | 1
BAY111151/6 | INSTALLATION KIT/OH-mech.side plate,400 | 2 | 1
BAY111501/4 | INSTALLATION KIT/BACK COVER,DOOR Single | 2 | 1
BFD101131/2R2A | EQUIPPED MAGAZINE/R 6672 DC Unit | 1
BFX90150/6 | DELIVERY SET/SEM-63xE1 | 29
BFZ61156/A11 | RADIO LINK EQUIPMENT/PT 3060 60/A11 | 2
BFZ901115 | DELIVERY SET/SPO1410R Subrack 2x2.5G SDH | 15
BKV301216/156 | FAN/Axial fan, 48 VDC, 52 W, 171.5 x 50. | 1 |  | 4
BKV301216/90 | FAN/Diagonal fan 48VDC 0,9A 171,5 x 50.8 |  |  | 1
BMG907158/1 | RACK/1U DCDU | 2
BMG980336/4 | DISTRIBUTION UNIT/PDU 02 01; Power Distr | 1 |  | 7
BML901209/1 | POWER SUPPLY UNIT/PSU AC/DC, 420W ETSI | 4
BML901302/1 | POWER SUPPLY/AC/DC -48V 100W, Portable | 3
BML901373/2 | POWER SUPPLY/AC/DC -54V 100W, Portable | 2
BMP90540/1 | SUPERVISION UNIT/EMU DC 01; Energy Meter | 8
DMDM-1/2S - 4 | JUMPER | 1
E15V90P3201 | QUADPLEXER LHHH |  | 3
ECM-00-KX02A(3) | AISG Cont Cable,3m,2 x 8pin conn,1M+1F | 254 | 185 | 100
ECM-00-KX02A(5) | AISG Cont Cable,5m,2 x 8pin conn,1M+1F | 2
ECM-065R17MM18J-GQ | Outdoor Directional Tri-band Antenna | 22 | 9 | 9
ECM-0709EWEW65XX02 | Triband L900/H1800/2100/2600 65Â°18dBi | 3 | 14 | 18
ECM-0991253228 | 12V AGM 150AH battery | 273 | 286 | 136
ECM-5100256700 | Door Lock | 4
ECM-53K1D7C07N1 | CONNECTOR N(F) FOR 1 5/8""CABLE | 18
ECM-60K1C7C07B1 | 7/16 Connector (F) for 1 5/8"" feeder | 306 | 34 | 21
ECM-60K1CAC05B1 | CONNECTOR 7-16 DIN (F) FOR 7/8"" CABLE | 2483 | 35 | 154
ECM-60K1D7C07B1 | 7/16 Connector (F)1 5/8""Aluminium feeder | 707 | 50 | 142
ECM-60S1C7C08N1 | CONN 7-16 DIN(M) STRGT FR 1/2"" SuperFlex | 2871 | 1093 | 460
ECM-60S2C7C08N1 | Conn. 7/16 DIN(M) RA Fr 1/2"" SuperFlex | 90
ECM-60S2C7CO3N1 | L-MALE CONNECTORS FOR 1/2 |  | 23
ECM-64S1C7-C08N1 | 4.3-10 male-1/2"" superflex Straight plug | 103 | 524 | 176
ECM-AND-019 | Grounding Kit for 7/8"" feeder cable |  |  | 56
ECM-ANTBRKT3MT | antenna bracket-2 flexi arm(76mmx3m)boom | 102 | 61 | 131
ECM-BD7U8X6V85 | Dband 900/1800(UMTS), 65Â°,16.5/17.5 dBi |  | 4
ECM-BD8U8U8X6V85 | Triband, 900/1800/3G, 65ï¿½, 17.5 dBi |  | 4
ECM-BU9U9X3V00 | Twin Beam 2100 |  |  | 1
ECM-CB-4-GDWEDF08G | Quadplexer with DC bypass | 80 | 33 | 9
ECM-DD300R-05A-B-S | 1U PDU con. of DC bre. 1x16A,6x25A,3x30A |  | 5 | 7
ECM-DEL-009 | RASO OD Model B( FAN ) |  |  | 1
ECM-ESAA150ABB01 | Indoor Rack | 3
ECM-ESAA150ABB04 | Indoor Micro (Celcom LTE) | 10 | 1
ECM-ESAA150ACB010 | INDOOR RECTIFIER 2.9 kWa | 2
ECM-ESAA150BCBA01 | Indoor power system- 2300W - ESAA150BCBA | 7 |  | 3
ECM-ESOA300ACB010 | Outdoor power system - 2900W-ESOA300ACBD | 0 | 9 | 13
ECM-ESOA300BCBD01 | ECM-ESOA300BCBD01 | 1 | 14 | 1
ECM-ESOA300FBG08 | RASO Model D-L (Celcom LTE) | 1
ECM-ESR4856ABS | Rectifier 2.7kW ESR48/56A B-S | 40 | 63 | 25
ECM-ESR4856CGA | Rectifier2.9kWESR48/56BC-G- | 55
ECM-EXTRM-10070H | SFP 10/100/1000BASE-T , CAT5 cable 100m | 33 | 29 | 90
ECM-F4A-DMDM-3M-P | 1/2 Superflexi JumperDIN Male-DINMale-3M | 4
ECM-F4A-HMDM-3M-P | 1/2 SFJumper4.3-10male-DINMale-3M | 4
ECM-F4HM-D | 4.3-10 (M) connector for 1/2"" Superflex | 12
ECM-F4PDMV2-C | Connector superflex (male) | 12
ECM-G7W8W8W8W8X65V | Penta-Band 5XPol, 694-960/4X1710-2690 MH | 1 | 3
ECM-HM-3-7F-DF-02 | 698-2700MHz, 3dB Hybrid | 12 | 10
ECM-L-100-DM | Termination Load,100W,Din male connector | 13 |  | 17
ECM-L98B755100M | OIL cable 100m (RPM 253 3577) | 98 | 9
ECM-L98B-906-20000 | Fiber Optic LCD(RFE)2FG657-LCD(RFE)=20m |  |  | 3
ECM-LC081133000 | JUMPER DIN MALE DIN MALE - 3 meters | 13937 | 2268 | 2587
ECM-LC081135000 | JUMPER DIN MALE DIN MALE - 5 meters | 203
ECM-LC08-475-3000 | 4.3-10 maleDIN male,3m1/2""superflex jump | 2503 | 414 | 3
ECM-LC08-475-5000 | 4.3-10 male-DINmale,5M 1/2â€™ SFLEX jumper |  |  | 102
ECM-LM101-006 | Feeder Clamps 7/8""; type 3-in one |  |  | 1835
ECM-LM103-074 | 32A DC Circ Breaker - MG 32A 4.5kA MCB |  |  | 10
ECM-LM103-078 | 25A DC CIRCUIT BREAKER |  |  | 54
ECM-LT10025151 | X-polar Bracket with Boom | 223 |  | 4
ECM-LTTBABS2838 | FOB- | 283 | 600 | 606
ECM-OD14-065R18J-G | QUADBAND HHHH-COMBA |  | 58
ECM-ODI4-065R18J-G | QB,Xp,4x1710-2690MHz,65,17.8/17.3 dBi,RE | 113 |  | 52
ECM-ROS-090 | RET CABLE 100M |  |  | 1
ECM-SL012SPE | Feeder Â½"" Cable Superflex | 300 | 555 | 550
ECM-SL078RALPE | Feeder Cable 7/8"" Aluminium | 976 | 354 | 424
ECM-SL158RAPE | Feeder Cable 1 5/8"" Aluminium | 3380 | 4140 | 4606
ECM-SLGK004C05060 | Grounding Kit for 7/8"" feeder cable | 1829 | 7 | 154
ECM-SLGK004C07060 | Grounding Kit for 1 5/8"" feeder cable | 467 | 190 | 307
FAB1021639/01 | SALES OBJECT/1/4"" RF Cable 300m drum |  |  | 840
GROUNDING CABLE (EARTH) | GROUNDING CABLE (EARTH) | 30
INE1100637/5 | PRODUCT/10GBASE-LR SFP Module, Enterpris | 30
INE1100676/6 | PRODUCT/10GBASE-SR SFP Module, Enterpris | 24
INE1100739/2 | PRODUCT/Cisco Catalyst 3850 48 Port Data | 6
KDR109363/256 | MICROCIRCUIT/FLASH CF 256MB 5.0V 3.3 |  |  | 5
KDR10961/6256 | MICROCIRCUIT/FLASH ATA 256M 5.5V 3.3 |  |  | 4
KDU127161/3 | PROCESSOR UNIT/DUW 30 01;Digital Unit |  | 1
KDU127170/2 | PROCESSOR UNIT/ESC 02 01; Ericsson Site, | 8
KDU127174/3 | PROCESSOR UNIT/DUW 31 01;Digital Unit | 12 | 13 | 8
KDU137569/1 | PROCESSOR UNIT/DUG 20 01;Digital Unit | 1 |  | 8
KDU137596/2 | PROCESSOR UNIT/SIU-02 unit with FAN |  | 1 | 2
KDU137624/3 | PROCESSOR UNIT/DUS 31 01;DIGITAL UNIT | 10 |  | 3
KDU137624/31 | PROCESSOR UNIT/DUS 31 01;DIGITAL UNIT |  | 2 | 15
KDU137669/1 | DUG | 18
KDU137739/1 | PROCESSOR UNIT/TCU 02 01;Transport Conne | 29 | 11 | 5
KDU137925/31 | PROCESSOR UNIT/Baseband 5216; Digital Un | 1 | 10 | 3
KDU137925/41 | PROCESSOR UNIT/Baseband 5212; Digital Un | 71 | 54 | 61
KDV127562 | COMBINED UNIT/SIU-02 with Fan |  | 5 | 1
KDV127621/11 | COMBINED UNIT/Baseband 6630 with fan (se | 1
KEB55002/1 | DETECTOR/Door alarm, Megnetic contact wi | 8
KET10951/1 | TEMPERATURE SENSOR/Temp sensor - RJ11 | 16
KET10959/1 | SENSOR/Fuel sensor | 8
KFE101116/2 | PFU 0201 |  |  | 1
KRC115032/2 | TRANSCEIVER/RIU (RET Interface Unit) | 245 | 20 | 2
KRC115108/1 | TRANSCEIVER/RMU 4.3-10 Int Cables | 37 | 9 | 9
KRC11871/2 | TRANSCEIVER/RRUS 01 B8;Radio Unit | 4
KRC11873/2 | TRANSCEIVER/RRUS 01 B3;Radio Unit | 2
KRC11876/1 | TRANSCEIVER/RRUS 01 B1;Radio Unit | 3
KRC161262/2 | TRANSCEIVER/RRUS 12 B8;Radio Unit, Type | 14 |  | 10
KRC161413/1 | TRANSCEIVER/RRUS 32 B3;Radio Unit | 3
KRC161428/1 | TRANSCEIVER/Radio 2217 B7;Radio Unit | 37 | 21 | 23
KRC161466/2 | TRANSCEIVER/RRUS 13 B1;Radio Unit, Type | 9 | 32
KRC161469/2 | TRANSCEIVER/RRUS 13 B3;Radio Unit | 1 | 6 | 1
KRC161488/1 | TRANSCEIVER/Radio 2203 B3;Radio Unit | 4
KRC161490/1 | TRANSCEIVER/Radio 2217 B1;Radio Unit | 22 |  | 1
KRC161495/1 | TRANSCEIVER/Radio 4415 B7 | 104 |  | 9
KRC161548/1 | TRANSCEIVER/Radio 2217 B8;Radio Unit | 1 | 8 | 37
KRC161550/1 | TRANSCEIVER/Radio 2217 B28A;Radio Unit | 6
KRC161609/2 | TRANSCEIVER/Radio 2205 B46 full band | 3
KRC161619/1 | TRANSCEIVER/Radio 2219 B3;Radio Unit | 160 | 157 | 166
KRC161622/1 | TRANSCEIVER/Radio 2219 B1;Radio Unit | 43 | 10 | 21
KRC161637/1 | TRANSCEIVER/Radio 4415 B3;Radio Unit | 158 | 46 | 22
KRC161670/1 | TRANSCEIVER/Radio 2219 B8;Radio Unit | 12 | 120 | 43
KRD901060/82 | TRANSCEIVER/RBS 6402 | 2
KRE1012182/1 | ANTENNA/GPS Active Antenna | 1 |  | 10
KRE1012249/1 | ANTENNA/Antenna 6503;Directional 1710-22 | 4
KRE105259/1 | ANTENNA/Antenna 2205 B46 LAA | 3
KRF102301/10 | FILTER UNIT/Diplex 698-2200+B7/B41 (8-4) | 64 |  | 4
KRY12168/1 | ACCESSORIES/Kathrein 3GPP/AISG 2.0 RET u |  |  | 3
KRY901345/2 | Outdoor Directional PB Antenna-RCU | 3
KRY901369/2 | ACCESSORIES/Support 6504;Dual DC FAN Sup | 2
L4TDM-PSA | 7/16 DIN STRAIGHT MALE CONNECTOR |  | 36 | 4
L98B-539-100000 | RRUS 12 OIL CABLE 100m | 1
L99-C130-3000 | PCU CABLE | 5
LC08-113-1000 | 1M JUMPERS 7/16M-7/16M JUMPER 1.0M |  |  | 15
LTY1511018/1 | ACCESSORIES/DUS LMT Splitter Cable |  |  | 15
MB-6W8X33V-00 | 6XPol, 6 x (1710-2690) MHz | 2
NCD90145/1 | CONNECTION BOX/Vent Box | 8
NCD90148/1 | CONNECTION BOX/OVP outdoor FullAx-FullAx | 4
NCD90149/1 | CONNECTION BOX/PI outdoor FullAx-FullAx | 4
NCD90156/1 | MODULE/GPS 03 01; GPS Receiver Unit | 1 |  | 10
NFD30234/08 | OVERVOLTAGE ARRESTER/OVP-ALM 8 | 8
NGC90145 | SURGE ARRESTOR/Surge Arrestor | 1 |  | 21
NGT90128/1 | EARTHING SET/1/4"" grounding kit, Alu and |  |  | 18
NTB1010201/1 | QUANTITY PACKAGE/Cable Bushing | 8
NTB1010271/2 | QUANTITY PACKAGE/DCDU 1U Con cables | 2
NTB1010354/1 | QUANTITY PACKAGE/Common Installation Mat | 2
NTB1010381/2 | MARKING SET/Main Remote 3-Sector | 4
NTB101104/1 | QUANTITY PACKAGE/PT 3060 Mast Mount | 3
NTB101242/1 | QUANTITY PACKAGE/SAU kit, DF-OVP V3, 10m | 10 | 8 | 2
NTB101242/2 | QUANTITY PACKAGE/OVP kit, 8 Ext Alarm fo | 20 | 24 | 27
NTK102243/1 | MATERIAL/Replacement kit for the SUP v1 | 1
NTM1011854/1 | MOUNTING SET/1410 Horizontal Mtg. Kit 19 | 15
NTM1011856/5 | MOUNTING SET/Cabling Brackets/Mtg. Kit 1 | 30
NTM1012389/1 | SET OF MATERIALS/Upgrade kit RBS 6201 - |  |  | 1
NTM1012589/1 | SET OF MATERIALS/6601 subrack kit v2,-48 | 133 | 108 | 65
NTM2012426 | SEALING SET/Sealing of Connectors,Outdoo | 25 |  | 13
NTM2012977/1 | SET OF MATERIALS/Expanderbolts,M12x90mm |  |  | 40
NTM2013581/4 | SET OF MATERIALS/Power cable set, SIU 01 |  | 1
NTM2013729/1 | SET OF MATERIALS/Cable Winder Box |  |  | 8
NTM2013819/1 | SET OF MATERIALS/Tilt protection kit |  |  | 4
NTM2013932/1 | SET OF MATERIALS/SAU kit for 19"" |  | 18 | 16
NTM2013933/1 | SET OF MATERIALS/OVP kit, 8 alarms |  | 9 | 23
NTM2013977/2 | INSTAL.MATERIAL SET/Screw kit for expans | 1 | 5 | 14
NTM2014090/2 | SET OF MATERIALS/External Alarm Interfac | 195 | 63 | 68
NTM2014156/3 | SET OF MATERIALS/Fiber Clamp, 3 fiber-3 | 14
NTM20220/1 | MOUNTING SET/MECHANIC FOR MAST |  |  | 34
NTM203122/3 | MOUNTING SET/1400 CLI cable & ESD strap | 15
NTM203219/10 | SET OF MATERIALS/Clamp Kit 7,6 mm 10 pcs | 6 |  | 36
NTM50150/1 | SET OF MATERIALS/EQ-foundation distribut | 4
NTM503019 | SET OF MATERIALS/DIN rail for 19 | 8
NTM503109/15 | SET/OVP kit,E1 TP,RBS 2206 V2,10m |  | 24 | 38
NTM50326/92 | SET OF MATERIALS/For "Raised floor" | 1
ODI-065R16M17JJJJG | SMALL PENTABAND LHHHH- | 2
PCU_ANT-001 | PCU (PORTABLE CONTROL UNIT) | 4
RASO-ANT-0011 | RET Cable 3m | 1419 | 377 | 442
RASO-ANT-0012 | RET Cable 5m | 59 | 8 | 6
RASO-ANT-0014 | XXXXPol,2x(694-960)/2x(1710-2690)MHz,QB | 190 | 22 | 41
RASO-ANT-0015 | XXXXPol,694-960/3x(1710-2690)MHz QB |  |  | 43
RASO-ANT-0017 | XXPol,2 x 1710-2690 MHz Dual Ultra-WB |  | 21
RASO-ANT-0018 | XPol,790-960 MHz Ultra-wideband | 35
RASO-ANT-0021 | XXXPol,3x1710-2690 MHz Triple Ultra-WB | 12 | 13 | 8
RASO-ANT-0023 | XXXXXPol,2x(694-960)/3x(1710-2690)MHz,PB | 82 | 45 | 50
RASO-ANT-0024 | Outdoor Directional QB Antenna-RCU | 59 |  | 49
RASO-ANT-0025 | Outdoor Directional PB Antenna-RCU | 2
RASO-ANT-0055 | QBXpol 698-960+1710-2690 65 16.7/17.9 | 12
RASO-ANT-0058 | PB,Xp,698-960+(4x)1710-2690,65Â°16.7/18/1 | 0 | 14 | 34
RASO-ANT-0059 | AISG Control Cable (3 meters) | 25 | 99
RASO-IM-ESK006 | OIL Cable RPM253 3577 100m |  |  | 10
RASO-IMT-9027 | OIL cable, single mode, LCD - LCD RFE, 150m | 6 | 9 | 5
RASO-IMT-9031 | OIL cable, single mode, LCD - LCD RFE, 250m |  | 2
RASO-IMT-9033 | OILcable,singlemode,LCD-LCDRFE,300m | 2
RASO-IMT-9034 | OIL cable, single mode, LCD - LCD RFE, 30m | 24 | 20
RASO-IMT-9038 | OIL cable, single mode, LCD-LCD RFE, 70m | 1
RDH10247/1 | OPTICAL TRANSCEIVER/SFP CPRI & 1000BASE- | 4 | 276
RDH10247/2 | OPTICAL TRANSCEIVER/SFP CPRI & 1000BASE- | 463 | 118 | 32
RDH10265/2 | OPTICAL TRANSCEIVER/SFP+ SM 10.3Gb/s 1.4 | 698 | 699 | 1003
RDH901002/1 | OPTICAL TRANSCEIVER/100/1000 TX SSR, SFP | 2
RDH90120/B0213 | OPTICAL TRANSCEIVER/SFP S.1.1 1310nm -40 | 58
RNT44719/001 | CONNECTOR/Circular Power cable connector |  |  | 7
RNT44720/001 | CONNECTOR/Circular Power cable connector |  |  | 3
RNT44732/02 | CONNECTOR/Circular Power cable connector | 1203 | 416 | 272
RNY10487/1 | ACCESSORIES/Power Adapter | 742 | 107 | 72
ROJ208459/1 | PRINTED BOARD ASSEMB/GARP-2 |  |  | 2
RPM1136127/1000 | CABLE WITH CONNECTOR/RJ45(8)-RJ45(8) 1m | 50
RPM1136127/2000 | CABLE WITH CONNECTOR/RJ45(8)-RJ45(8) 2m | 2
RPM1136127/60M | CABLE WITH CONNECTOR/INTERFACE CABLE ETH | 2
RPM1138465/20M | CABLE WITH CONNECTOR/8-pos RJ45(J-Connec | 3
RPM1190210/1 | CABLE WITH PLUG/RJ45 120 Ohm open end, 3 | 36
RPM1191647/2 | EARTHING CABLE/16mm2,BK,2m,with 1 lug |  |  | 42
RPM1191816/F07 | CABLE/FullAXS PoE-PoE AWG26, 0.7m | 3
RPM1191816/R10 | CABLE/FullAXS PoE-RJ45 AWG26, 10m | 4
RPM1191817/F90 | CABLE/FullAXS PoE-PoE AWG22, 90m | 4
RPM1192062/2 | EARTHING CABLE/16mm2, GNYE, 2m, 1 lug wi | 12
RPM251089/5000 | POWER CABLE/Power Cable with Ferrite, Sy | 60
RPM251120/30M | CONNECTION CABLE/Open end 32xE1 LFH cabl | 58
RPM2530292/100M | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 38 | 65 | 143
RPM2530292/20M | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 3 | 160 | 106
RPM2530292/5000 | CONNECTION CABLE/2F LC-LC SM RRUS02, RRU | 52 | 20 | 9
RPM2531610/100M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 13 | 246 | 93
RPM2531610/150M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S |  | 1
RPM2531610/50M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC S | 4
RPM2531611/100M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC M | 104 | 63 | 50
RPM2531611/70M | CABLE WITH CONNECTOR/2F LC(FullAXS)-LC M |  |  | 1
RPM2531981/45M | CONNECTION CABLE/PATCH CABLE (C) 8F MU-S | 1
RPM2533512/1000 | CABLE WITH CONNECTOR/2F LC-LC SM | 89 | 2
RPM2533512/100M | CABLE WITH CONNECTOR/2F LC-LC SM | 39 | 57
RPM2533512/10M | CABLE WITH CONNECTOR/2F LC-LC SM |  | 76 | 63
RPM2533512/2000 | CABLE WITH CONNECTOR/2F LC-LC SM | 2
RPM2533512/5000 | CABLE WITH CONNECTOR/2F LC-LC SM | 69 | 33 | 58
RPM2533512/50M | CABLE WITH CONNECTOR/2F LC-LC SM |  | 19 | 6
RPM2533513/100M | CABLE WITH CONNECTOR/2F LC-LC MM 50um |  | 132
RPM2533577 | OIL cable 100m (RPM 253 3577) |  |  | 43
RPM5131104/00120 | CABLE/SIGNAL CABLE |  |  | 1
RPM5132362/20M | CABLE WITH CONNECTOR/2F LC(J-Connector)- | 41 | 70 | 78
RPM77701/00250 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 7
RPM77701/00300 | CABLE WITH CONNECTOR/SIGNAL CABLE | 236 | 2 | 26
RPM77701/00550 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 6
RPM77701/00750 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 8
RPM77701/01000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 294 | 24 | 84
RPM77701/01600 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 4
RPM77701/02000 | CABLE WITH CONNECTOR/SIGNAL CABLE |  | 2 | 7
RPM777135/00700 | CABLE WITH CONNECTOR/POWER CABLE |  |  | 1
RPM777135/01200 | CABLE WITH CONNECTOR/POWER CABLE |  |  | 1
RPM777143/00250 | CABLE WITH CONNECTOR/SIGNAL CABLE |  | 4
RPM777193/00160 | CABLE WITH CONNECTOR/DC POWER CABLE |  | 1 | 2
RPM777193/00200 | CABLE WITH CONNECTOR/DC POWER CABLE | 390 | 36 | 104
RPM777193/00315 | CABLE WITH CONNECTOR/DC POWER CABLE |  |  | 10
RPM777193/00450 | CABLE WITH CONNECTOR/DC POWER CABLE |  |  | 1
RPM777193/01000 | CABLE WITH CONNECTOR/DC POWER CABLE |  |  | 4
RPM777193/01300 | CABLE WITH CONNECTOR/DC POWER CABLE | 1
RPM777193/01500 | CABLE WITH CONNECTOR/DC POWER CABLE |  |  | 2
RPM777193/02000 | CABLE WITH CONNECTOR/DC POWER CABLE | 112 | 15 | 29
RPM777211/00900 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 11
RPM777211/01500 | CABLE WITH CONNECTOR/SIGNAL CABLE | 13
RPM777211/01800 | CABLE WITH CONNECTOR/SIGNAL CABLE | 104 | 17 | 45
RPM777263/01000 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 5
RPM777263/01800 | CABLE WITH CONNECTOR/SIGNAL CABLE | 58 | 10 | 8
RPM777274/00650 | CABLE WITH CONNECTOR/SIGNAL CABLE |  | 7 | 6
RPM777274/01800 | CABLE WITH CONNECTOR/SIGNAL CABLE | 122 | 15 | 23
RPM777279/01000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 90 | 2 | 3
RPM777279/01800 | CABLE WITH CONNECTOR/SIGNAL CABLE | 2 | 2 | 2
RPM777291/02000 | CABLE WITH CONNECTOR/EARTH CABLE | 1129 | 49 | 84
RPM777296/00500 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 8
RPM777298/20000 | CABLE WITH CONNECTOR/DC POWER CABLE |  | 2
RPM777341/00300 | CABLE WITH CONNECTOR/SIGNAL CABLE | 4
RPM777381/02000 | CABLE WITH CONNECTOR/SIGNAL CABLE |  |  | 24
RPM777382/05000 | CABLE WITH CONNECTOR/SIGNAL CABLE |  | 3
RPM777435/01000 | CABLE WITH CONNECTOR/GROUNDING CABLE | 1
RPM777441/03000 | CABLE WITH CONNECTOR/POWER CABLE | 5 | 6
RPM777442/03000 | CABLE WITH CONNECTOR/POWER CABLE | 5 | 6
RPM777526/01800 | CABLE WITH CONNECTOR/POWER CABLE | 2
RPM777528/01000 | CABLE WITH CONNECTOR/POWER CABLE | 2
RPM777554/00500 | CABLE WITH CONNECTOR/POWER CABLE | 40
RPM777554/15000R1 | CABLE WITH CONNECTOR/POWER CABLE | 20
RPM777555/05000 | CABLE WITH CONNECTOR/POWER AND SIGNAL CA | 32
RPM777700/00130 | CABLE WITH CONNECTOR/COAXIAL CABLE |  | 35 | 13
RPM777700/00460 | CABLE WITH CONNECTOR/COAXIAL CABLE | 213 | 107 | 80
RPM777700/01400 | CABLE WITH CONNECTOR/COAXIAL CABLE |  | 23
RPM919619/10000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 1073 | 168 | 204
RPM919665/02400 | COAXIAL CABLE/SMA (m)-SMA (m) outdoor | 35 |  | 24
RPM919701/01700 | CABLE WITH CONNECTOR/SIGNAL CABLE | 6
RPM919701/17000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 2 | 1
RPM919723/01500 | CONNECTION CABLE/Power cable, SIU02 to P |  | 2
RPM919726/15M | CONNECTION CABLE/Power cable for SIU02 i |  | 33 | 13
RPM919750/20M | COAXIAL CABLE/Coaxial Cable | 2
RPM919750/30M | COAXIAL CABLE/Coaxial Cable | 4
RPT899271/1 | CONNECTOR/Andrew, 1/4"" N-Connector (m) |  |  | 34
RYT921612/1 | MICROCIRCUIT/SFP GB-TXï¿½ RJ45 SGMII Ether | 26
SBM173060/03 | CAPTIVE NUT/CAPTIVE NUT C 4806-B M 6 ST | 112
SDF107236/001 | COVER/COVER for Outdoor application (sha | 40
SDK1077276/1 | COVERING PLATE/Dummy unit SM/EM | 32
SEF901304/1 | BRACKET/RAIL BRACKET | 674 | 423 | 466
SEF901305/0180 | BRACKET/RAIL | 1119 | 418 | 423
SET10306 | CABLE CLAMP/CABLE CLAMP B=2,5 L=142 NATU | 8
SG158-06B2A | SureGround Grndg Kit 1 5/8in coax 0.6M |  |  | 4
SINGLE BAND ANTENNA | Single Band Antenna (L) | 3
SVB1540071/12 | LABEL/SPO1410 Assembled and Pre-Loaded E | 15
S-WAVE-ACU-002 | Antenna Control Unit |  | 32 | 1
S-WAVE-ACU-002-DV2-12 | Rosenberger RET | 1
S-WAVE-ACU-002-DV6 | Rosenberger RET | 5
S-WAVE-ACU-002-DV8 | Rosenberger RET | 10
S-WAVE-ACU-003 | Rosenberger RET |  |  | 6
SXA1060216/15 | FLOOR PANEL/EQ 2xBYB501 600x800, 4 cut-o | 1
SXA120119/1 | BRACKET/Down tilt kit |  |  | 1
SXA1342193/1 | MECHANICAL COMPONENT/Dummy RU/FU | 205 |  | 58
SXA1342193/2 | MECHANICAL COMPONENT/Dummy 31 (Plastic v | 942 | 21 | 28
SXA1345524/3 | MECHANICAL COMPONENT/Cable Ladder 19Â in | 2
SXA210404/1 | CABLE SHELF/Shelf H=25 mm, | 16
SXA2151177/1 | BRACKET/Cable shelf |  |  | 5
SXA2151640/1 | SHELF/Subrack shelf |  |  | 4
SXA2152667/1 | BRACKET/Left bracket | 6 | 1 | 9
SXA2152668/1 | BRACKET/Right bracket | 7 | 1 | 9
SXA2154174/1 | MECHANICAL COMPONENT/Guide Rail DUX | 2
SXK1072840/2 | ANTENNA SUPPORT/Universal Single RRU Sup |  | 7 | 3
SXK1072860/1 | ASSEMBLED PARTS/GPS Mounting Support, Al |  |  | 10
SXK1091511/1 | ASSEMBLED PARTS/DUW box | 2 | 10 | 6
SXK1091931/1 | ASSEMBLED PARTS/GPS Mount, Steel | 1 |  | 3
SXK1091973/1 | ASSEMBLED PARTS/Multi ERS bracket | 6
SXK1098604/1 | ASSEMBLED PARTS/8U SUBRACK |  |  | 6
SXK1098971/1 | ASSEMBLED PARTS/Dummy 31 |  |  | 3
SXK111539/1 | MOUNTING SET/RACK SCREW KIT | 692 | 188 | 167
SXK1250245/1 | ASSEMBLED PARTS/MOUNTING KIT (MK mast br | 57 | 24 | 62
SXK1250819/1 | ASSEMBLED PARTS/Front Cover |  |  | 1
SXK1252540/1 | ASSEMBLED PARTS/MOUNTING KIT | 912 | 411 | 425
TFL104510/08 | CABLE/S1Z1-K 1x50 MM2 (1 AWG), UL 90 Deg | 20
TFL281324 | INSTALLATION CABLE/HALOGENFREE,2X6,600V, | 2400
TFL492324/500M | POWER CABLE/2x6 mm2;UL;LSOH;Alu+Cu-scree | 3856 | 365
TFL492325/100M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre |  | 200
TFL492325/300M | POWER CABLE/2x10 mm2;UL;LSOH;Alu+Cu-scre | 6415 | 10391 | 12932
TFL90117/19 | CABLE/2x10mm2 (8AWG) 600V 90C UL 10m coi |  |  | 9
TFL90117/24 | CABLE/2x6mm2 (10AWG) 600V 90C UL 10 m co | 54
TPM1010027/15M | CABLE/TFL 252015/16 15m SPOOLED | 140 | 109 | 62
TPM1010030/30M | CABLE/TFL 252 017/002ï¿½ï¿½ 30mï¿½ outdoorï¿½ SP | 8
TQB-609016/Q172716DEI-65FV02 | TQB-609016/Q172718DEI-65FT2 | 2
TQB-609016/Q172718DEI-65FT2 | TQB-609016/Q172718DEI-65FT2 | 2
TSR263142/1 | CABLE WITH CONNECTOR/Signal/Power cable | 2
TSR432151/10M | CONNECTION CABLE/Signal Cable | 34
TSR432151/15M | CONNECTION CABLE/Signal Cable | 2 | 16 | 15
TSR432151/2000 | CONNECTION CABLE/Signal Cable | 20
TSR4820243/17M | CONNECTION CABLE/Signal Cable |  | 9
TSR48422/2000 | CONNECTION CABLE/Signal Cable |  | 20
TSR491603/10M | CABLE WITH CONNECTOR/SIGNAL CABLE | 1
TSR491603/60M | CABLE WITH CONNECTOR/SIGNAL CABLE | 2
TSR491628/5000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 2 | 1
TSR491641/5000 | CABLE WITH CONNECTOR/SIGNAL CABLE | 2 | 1
TSR49316/3000 | CONNECTION CABLE/SCB-SCB | 8
TSR49336/3000 | CABLE WITH CONNECTOR/POWER CABLE | 100
TSR49340/60M | CONNECTION CABLE/D-SUB - Open end w/ cab | 6
TSR49345/3000 | CABLE WITH CONNECTOR/POWER CABLE | 4 | 2
TSR951338/1500 | CONNECTION CABLE/Jumper N(m)-SMA(m) 1.5m | 1
TSR951345/2 | CONNECTION CABLE/Jumper N(m)-N(m) 10m | 1
TSR951355/1 | CONNECTION CABLE/Alarm cable, 17M, RJ45 |  | 1
TSR951357/1500 | CONNECTION CABLE/Jumper N(m)-SMA(m) 1.5m |  |  | 12
TSR951367/3 | JUMPER CABLE/Rosenberger 1/2"" jumper cab | 36
TSR95170/3 | JUMPER CABLE/Commscope 1/2"" jumper cable |  | 24
ZHY60117/1 | ALARM UNIT/SAU 01 01;Support Alarm Unit | 5 | 4
(blank) | (blank)
Grand Total |  | 62349 | 28445 | 33826